This example plan uses “fields” for frequently used names, etc.  It also uses “hidden text” for instruction purposes.  Follow the instructions below to ensure both options are available.

Using Fields

Turn on field shading by entering “Options” going to “Advanced” and selecting “Always” in the drop list by field shading.

Once field shading is turned on, you will see fields in a gray box.  Follow these steps to enter information:

- Left click on the field to move cursor to field.

- Right click on the field

- Left click on “update field”

- You should now see a window that explains what is to be entered.

- Type in your information.

- Left click “OK”

- The field should now be completed.  Some fields are linked to others so that when you choose “update field” the information will be entered for you.  If you do a print preview these will automatically update.

Hidden Text

Some instructions are listed in hidden text.  To ensure that you can see hidden text follow these steps:

If you can see this sentence, you can already see hidden text and do not need to follow these steps.

- Go to “Options” as before.

- Choose “Display”

- Check “Hidden Text” in the second section.

The hidden text will now be displayed on your computer but will not print.

Once you have ensured that both “fields” and “hidden text” are visible on your computer, you should delete this page.  It is not part of the plan.

Drought Management Plan

For

Your Town Water System

PWSID:  0000000

Date:  July 22, 2016

Authority and Status to Plan.

Your Town is a municipal corporation chartered and organized under the laws of the State of Tennessee.  Your Town Water System owns and operates a water treatment plant and distribution system serving the citizens of Your Town and the surrounding area.  The mayor of Your Town has the authority to implement a drought management plan the chief water treatment plant operator has been given the responsibility to complete the plan.

System Characteristics and Risks.

Your Town Water System has approximately 2,100 water connections. Using the household factor of 2.5 persons per household for Dry Ridge County this is equivalent to approximately 5,250 persons.  The usage is categorized as follows:

Use a month with average usage such as February for the average use in gallons and the month with the highest usage in recent history for the peak water use.  To calculate the percent increase, divide the increase in gallons by the average use and multiply by 100.

| Water Use Category | Use in Gallons (Avg) | Percent of Total Usage | Peak Water Use | Percent of Total Usage | Increase in Gallons | Percent Increase (peak over avg) |
| --- | --- | --- | --- | --- | --- | --- |
| Residential | 5, 864,935 | 47 | 6,655,967 | 46 | 791,032 | 13 |
| Commercial | 1,551,589 | 12 | 1,662,938 | 12 | 111,339 | 7 |
| Non Metered | 5,103,476 | 41 | 6,004,105 | 42 | 900,629 | 18 |
| Total | 12,520,000 | 100 | 14,323,000 | 100 | 1,803,000 | 14 |

The Your Town Water System Water Treatment Plant is a conventional groundwater plant with a design capacity of approximately 0.75 million gallons per day.  Average usage for the system is approximately 510,000 gallons per day.  The maximum daily pumpage in recent years, which occurred in April, 2007, was 722,000 gallons.  The treatment plant uses the three wells as its raw water source.  The distribution system contains two water storage tanks with a combined capacity of 750,000 gallons.

Purpose of the Drought Management Plan.

Typically drought has not affected the water source in past years.  The purpose of this plan is to reduce water demand in the event of a drought where existing water supplies are inadequate to meet current demand for potable water.  The significance of taking into account water use on average and during peak water demand (though it may not reflect an extreme or exceptional drought) is that system officials can identify water uses that have the potential to be reduced more easily. The point here is to identify potential discretionary or non-essential water uses. It is evident from the data above that water use by residential users typically increases 13 percent over average water use. The seven percent increase in commercial use indicates that this area may not be easily reduced.

Because water use data reflects a typical peak summer water use but not necessary a moderate, severe or extreme drought, additional water use could be expected by residential customers on the system to water cattle and other livestock, though they usually rely on ponds and small streams which are likely to be depleted in a severe drought.

During the droughts of 2007 and 2008, the water treatment plant was able to meet customer demand with no restrictions implemented.  Static water levels in our wells remained at normal levels.  Presently there are no connections with any neighboring water systems.  An emergency connection with Next Door Water System is being discussed, however since their source is also groundwater, a drought that affects Your Town Water System would likely affect them.

Drought Management Plan within the Context of an EOP.

Development of the town’s drought management plan and EOP were assigned to the chief water plant operator. He organized a team of individuals, including employees and local officials to help organize and frame the plan. Your Town Water System’s EOP addresses line breaks, storms, earthquakes, hazardous material spills and civil disturbances. The EOP is not available for public scrutiny.  The drought management plan focuses attention on managing supplies and demand during a declared drought.

The Planning Committee

The Your Town Water System drought management plan is a separate component of the Emergency Operation Plan (EOP). It was developed by Water Department staff of the town, but included a focus group in its development and review. Unlike the EOP to which the drought plan is an “annex,” the drought plan includes a standby rate structure, restricts some water uses and in some cases bans other water uses at times. The drought management plan was adopted by the mayor and town council. The final adoption process was the normal process used by city council to adopt ordinances allowing for public comment.   The drought committee met on May 16, 2016.

Goals – Objectives and Priorities.

The initial goal of the drought management plan was to provide water to all priority uses as established by the water system under worsening drought conditions (three levels). The water

uses and levels of water availability take into account the maintenance of public health and safety, sustaining economic activity, preserving critical environmental resources and life activities.

General Water Uses in Order of Priority:

- Hospital and medical facilities

- Nursing homes and elderly care facilities

- Human Consumption (Drinking water, domestic cooking, bathing, toilet use)

- Fire protection (structural facilities, and hazardous situations)

- Pets (animal hospitals, kennels) and livestock

- Environment (Erosion, Aquatic Habitat)

- Commercial Uses (Restaurant, Laundry, Office, Retail)

- Industry and Manufacturing (Sanitation, Process, Cooling)

- Recreation (Pools, Athletic Fields)

- Landscape (shrubbery) watering (Home and Commercial)

- Lawn watering, Vehicle Washing (Home and Commercial)

Interconnections, Mutual Aid Agreements and Backup Sources.

As a result of customers with livestock on the system with potentially inadequate streams, the

plan calls for the use of fire department tankers to haul water from area streams (having

available water) to assist farmers with livestock. A portion of the additional funds needed to

support this activity would come from revenues generated by standby rates with the remaining

funds from fees for services from farmers.

Ordinances, Policies and Legal Requirements.

The city’s drought management plan, rules, ordinances, and policies are available for review. Copies can be examined at the Dry Ridge County public library.

Well Static Water Levels

During periods of drought or impending drought, operators at the Your Town Water System Water Treatment Plant will monitor the static water levels of system wells.  US Drought Monitor (https://www.drought.gov/gdm/current-conditions) will be monitored to determine severity of drought.  In the event that the static water levels begin to approach preset trigger points, the Tennessee Division of Water Resources will be contacted to discuss possible actions.

Phased Management.

The drought response plan is broken into four phases: Drought Alert, Voluntary Water

Reductions, Mandatory Water Restrictions and Emergency Water Management. The drought management phases and sets of trigger points along with their associated goals are described

below. Failure to achieve a management phases goal within a reasonable time shall call for the

next phase to be implemented.

Drought Alert.

In the drought alert phase, no reduction in water use demand is planned. The Your Town Water System will focus on monitoring conditions, prepare for the possible implementation of “Voluntary Reductions,” and call its drought task force group together to review the plan and next-step actions.

Voluntary Water Reductions.

Under “Voluntary Reductions” Your Town has established a water use reduction goal of 10

percent. This figure corresponds to approximately 80,000 gallons per day water use judging by peak usage.  Among the trigger points for implementing this phase would be a drop in static water levels of 20% or an increase in the usage to 600,000 gpd for five consecutive days.  The public appeal would consist of news releases to the media (weekly newspaper, local radio and regional television stations).  Customers will be encouraged to use efficient water practices, e.g., watering lawns between sunset and sunrise, along with the more careful watering of shrubs and other landscape plantings.

Mandatory Water Restrictions.

The goal of activating a “Mandatory Water Restrictions” phase would be to reduce water

demand by customers by 15 percent (from estimated peak demand).  This would amount to a reduction of approximately 120,000 gpd.  Vehicle washing will be restricted.  Restrictions to car/vehicle washing will apply to commercial car washes that do not re-cycle water and to the domestic washing of cars, etc. Lawn and landscape watering will be restricted.  To assist in reducing usage, the water system will reduce the amount of flushing where possible.  Among the trigger points for implementing this phase would be a drop in static water levels of 40% or an increase in the usage to 650,000 gpd for five consecutive days.  Restrictions will be provided to the public through the media and posted in public buildings such as libraries, city hall, court house, banks and grocery stores.  A $15.00 surcharge will be assessed to all customers using over 4000 gallons per month.  System personnel will be utilized to monitor compliance with restrictions.  Customers will also be requested to report violators of the restrictions.

The following will be used to enforce restrictions:

- First offense - A written warning will be issued

- Second Offense - A $50.00 fine

- Third Offense - Customer's water service will be discontinued for a minimum of 5 days.  A reconnection fee will be required to have service restored.

Emergency Water Management. The “Emergency Water Management” phase of the drought plan would be triggered by severe water pressure or other hydraulic issues, the static water level drops 50% or more or the daily usage reaches 700,000 gpd for five consecutive days.  The purpose of this phase would be to reduce water use to 25 percent of the peak demand.  This would be a reduction of approximately 200,000 gpd.  The media will be used to strongly encourage all customers to curtail any nonessential usage.  A $25.00 surcharge will be assessed to all customers using over 4000 gallons per month.  System personnel will be utilized to monitor compliance with restrictions.  Customers will also be requested to report violators of the restrictions.

The following will be used to enforce restrictions:

- First offense - A written warning will be issued

- Second Offense - A $50.00 fine

- Third Offense - Customer's water service will be discontinued for a minimum of 15 days.  A reconnection fee will be required to have service restored.

Monitor Supply and Demand.

Your Town established 3 drought management phases in addition to a “Drought Alert” Phase.

All four phases are described below. In addition, numerous trigger points were identified

signaling the beginning of a phase.

Management Team.

Your Town Water System designated the chief water treatment plant operator to be the drought plan implementation Manager. He is ultimately in charge of managing the water system. In addition, the mayor of the town, the chief of the fire department and distribution supervisor make up the drought management group responsible for overseeing the implementation of the plan. They advise and assist the chief operator in gathering information, assessing the situation and recommend/advise/approve the chief operator's actions. The task group is activated and will meet as necessary once a “Drought Alert” has been initiated. A “Drought Alert” corresponds to the US Drought Monitor’s categorization of the water system’s service area as being characterized as under “Severe” drought conditions. The task group monitors water system conditions, including water demand, water supply, forecasted conditions, hydraulic conditions, water quality issues, impacted communities, public notification, plan modifications, staffing, trigger points and other issues related to the implementation of the plan. The task group and chief operator must also maintain records of their actions, system conditions at the time of management actions taken, and their effects. Finally, the drought management group and plan implementation manager must also determine and announce the step-down and/or deactivation of the plan.

Review, Evaluation and Up-dating the Management Plan

The drought management plan was adopted on _________________ by the town council. The drought manager will review the plan within 6 months after any phase of the plan has been implemented and/or every three years. Refinements to the drought management plan will be made as necessary.  The drought manager is responsible for making the review and presenting that review before the council.