This example plan uses “fields” for frequently used names, etc.  It also uses “hidden text” for instruction purposes.  Follow the instructions below to ensure both options are available.

Using Fields

Turn on field shading by entering “Options” going to “Advanced” and selecting “Always” in the drop list by field shading.

Once field shading is turned on, you will see fields in a gray box.  Follow these steps to enter information:

- Left click on the field to move cursor to field.

- Right click on the field

- Left click on “update field”

- You should now see a window that explains what is to be entered.

- Type in your information.

- Left click “OK”

- The field should now be completed.  Some fields are linked to others so that when you choose “update field” the information will be entered for you.  If you do a print preview these will automatically update.

Hidden Text

Some instructions are listed in hidden text.  To ensure that you can see hidden text follow these steps:

If you can see this sentence, you can already see hidden text and do not need to follow these steps.

- Go to “Options” as before.

- Choose “Display”

- Check “Hidden Text” in the second section.

The hidden text will now be displayed on your computer but will not print.

Once you have ensured that both “fields” and “hidden text” are visible on your computer, you should delete this page.  It is not part of the plan.

Drought Management Plan For

Your Town Water System

PWSID: 0000000

January 10, 2011

Authority and Status to Plan

Your Town is a municipal corporation chartered and organized under the laws of the State of Tennessee. The Your Town Water System owns and operates a water treatment plant and distribution system serving the citizens of Your Town and the surrounding Aqua County area. The mayor of Your Town has the authority to implement a drought management plan, the chief water treatment plant operator has been given the responsibility to complete the plan.

System Characteristics and Risks

The Your Town Water System has approximately 3,767 water connections. Using the household factor of 2.48 persons per household for Aqua County this is equivalent to approximately 9,342 persons. The usage is categorized as follows:

Use a month with average usage such as February for the average use in gallons and the month with the highest usage in recent history for the peak water use.  To calculate the percent increase, divide the increase in gallons by the average use and multiply by 100.

| Water Use Category | Use in Gallons (Avg) | Percent of Total Usage | Peak Water Use | Percent of Total Usage | Increase in Gallons | Percent Increase (peak over avg) |
| --- | --- | --- | --- | --- | --- | --- |
| Residential | 5, 864,935 | 47 | 6,655,967 | 46 | 791,032 | 13 |
| Commercial | 1,551,589 | 12 | 1,662,938 | 12 | 111,339 | 7 |
| Non Metered | 5,103,476 | 41 | 6,004,105 | 42 | 900,629 | 18 |
| Total | 12,520,000 | 100 | 14,323,000 | 100 | 1,803,000 | 14 |

The Your Town Water System Water Treatment Plant is a conventional turbidity removal filter plant with a design capacity of approximately 2.3million gallons per day. Average usage for the system is approximately 1,021,000 gallons per day. The maximum daily pumped in recent years, occurred in August of 2007, was 1,910,000 gallons. The treatment plant uses Dry Creek as its raw water source. The distribution system contains 7 water storage tanks with a combined capacity1,868,000gallons

Purpose of the Drought Management Plan

The purpose of this plan is to reduce water demand in the event of a drought where existing water supplies are inadequate to meet current demand for potable water. The significance of taking into account water use on average and during peak water demand (though it may not reflect an extreme or exceptional drought) is that system officials can identify water uses that have the potential to be reduced more easily. The point here is to identify potential discretionary or non-essential water uses. It is evident from the data above that water use by commercial users typically increases 21 percent over average water use. The four percent increase in residential use indicates that this area may not be easily reduced.

Because water use data reflects a typical peak summer water use but not necessary a moderate, severe or extreme drought, additional water use could be expected by residential customers on the system to water cattle and other livestock, though they usually rely on ponds and small streams which are likely to be depleted in a severe drought.

Presently there are no connections with any neighboring water system .There is a signed agreement  to connect to the Next Door Water System in an emergency.

Drought Management Plan within the Context of an EOP

Development of the town's drought management plan and EOP were assigned to the chief water plant operator. He organized a team of individuals, including employees and local officials to help organize and frame the plan. Your Town Water System’s EOP addresses line breaks, storms, earthquakes, hazardous material spills and civil disturbances. The EOP is not available for public scrutiny. The drought management plan focuses attention on managing supply and demand during a declared drought.

The Planning Committee

The Your Town Water System drought management plan is a separate component of the Emergency Operation Plan (EOP). It was developed by Your Town Water System staff, but included a focus group in its development and review. Unlike the EOP to which the drought plan is an "annex," the drought plan includes restrictions on some water uses and in some cases bans other water uses at times. The drought management plan will be adopted by the mayor and town council. The final adoption process is the normal process used by city council to adopt ordinances allowing for public comment.  The drought committee met on November 30, 2010 and on January 21, 2011.

Goals - Objectives and Priorities

The initial goal of the drought management plan was to provide water to all priority uses as established by the water system under worsening drought conditions (three levels). The water uses and levels of water availability take into account the maintenance of public health and safety, sustaining economic activity, preserving critical environmental resources and life activities.

General Water Uses in Order of Priority:

- Hospital and medical facilities

- Nursing homes and elderly care facilities

- Human Consumption (Drinking water, domestic cooking, bathing, toilet use)

- Fire protection (structural facilities, and hazardous situations)

- Pets (animal hospitals, kennels) and livestock

- Environment (Erosion, Aquatic Habitat)

- Commercial Uses (Restaurant, Laundry, Office, Retail)

- Industry and Manufacturing (Sanitation, Process, Cooling)

- Recreation (Pools, Athletic Fields)

- Landscape (shrubbery) watering (Home and Commercial)

- Lawn watering, Vehicle Washing (Home and Commercial)

Interconnections, Mutual Aid Agreements and Backup Sources

As a result of customers with livestock on the system with potentially inadequate streams, the plan calls for the use of fire department tankers to haul water from area streams (having available water) to assist farmers with livestock.

Ordinances, Policies and Legal Requirements.

The Your Town Water System drought management plan, rules, ordinances, and policies will be available for review. Copies can be examined at the Aqua County Public Library.

Agency Coordination and United States Geological Survey (USGS) Information

During periods of drought or impending drought, operators at the Your Town Water System Water Treatment Plant will monitor the Drought Monitor (http://www.drought.unl.edu/dm/DM_state.htm?TN,S)  to determine the severity of drought. In the event that the stream flow begins to approach preset trigger points, the Tennessee Division of Water Resources will be contacted to discuss possible actions.

Phased Management.

The drought response plan is broken into four phases: Drought Alert, Voluntary Water Reductions, Mandatory Water Restrictions and Emergency Water Management. The drought management phases and sets of trigger points along with their associated goals are described below. Failure to achieve a management phase’s goal within a reasonable time shall call for the next phase to be implemented.

Drought Alert

In the drought alert phase, no reduction in water use demand is planned. The Your Town Water System will focus on monitoring conditions, prepare for the possible implementation of "Voluntary Reductions," and call its drought task force group together to review the plan and next-step actions.

Voluntary Water Reductions

Under "Voluntary Reductions" Your Town Water System has established a water use reduction goal of 10 percent. This figure corresponds to approximately 190,000 gallons per day water use judging by peak usage. Among the trigger points for implementing this phase would be a lowering of Dry Creek to 24 inches below water overflow pipe or an increase in the usage of 1,400,000gpd for five consecutive days. The public notification would consist of news releases to the media (weekly newspaper, local radio and regional television stations). Customers will be encouraged to use efficient water practices, e.g., watering lawns between sunset and sunrise, along with the more careful watering of shrubs and other landscape plantings.

Mandatory Water Restrictions

The goal of activating a "Mandatory Water Restrictions" phase would be to reduce water demand by customers by 15 percent (from estimated peak demand). This would amount to a reduction of approximately 285,000 gpd. Vehicle washing will be restricted. Restrictions to car/vehicle washing will apply to commercial car washes that do not re-cycle water and to the domestic washing of cars, etc. Lawn and landscape watering will be restricted. To assist in reducing usage, the water system will reduce the amount of flushing where possible. Among the trigger points for implementing this phase would be a lowering of Dry Creek to 30 inches below water overflow pipe or an increase in the usage of 1,600,000 gpd for five consecutive days. Public notification of the restrictions will be provided through the media and posted in public buildings such as libraries, city hall, court house, banks and grocery stores. System personnel will be utilized to monitor compliance with restrictions. Customers will also be requested to report violators of the restrictions.

The following will be used to enforce restrictions:

- First offense - A written warning will be issued

- Second Offense - A $50.00 fine

- Third Offense - Customer's water service will be discontinued for a minimum of 15 days.

A reconnection fee will be required to have service restored.

Emergency Water Management

The "Emergency Water Management phase of the drought plan would be triggered by a lowering of Dry Creek to 36 inches below water overflow pipe or an increase in the usage of 1,900,000gpd for five consecutive days. The purpose of this phase would be to reduce water use to 25 percent of the peak demand. This would be a reduction of approximately 475,000gpd. The public will be strongly encourage to curtail any nonessential usage. System personnel will be utilized to monitor compliance with restrictions. Customers will also be requested to report violators of the restrictions.

The following will be used to enforce restrictions:

- First offense - A written warning will be issued

- Second Offense - A $50.00 fine

- Third Offense - Customer's water service will be discontinued for a minimum of 30 days.

A reconnection fee will be required to have service restored.

Monitor Supply and Demand

The Your Town Water System established 3 drought management phases in addition to a "Drought Alert" Phase. All four phases are described below. In addition, numerous trigger points were identified signaling the beginning of a phase.

Triggerpoints to Management Phases

The USGS does not monitor Dry Creek and there is no historical data regarding flow rates maintained. In lieu of this the Your Town Water System Water Plant has determined that measurements of the level of the water as measured from the 24” water overflow pipe adjacent to the systems water intake pipe can be utilized to indicate possible drought stages. During the 2007 drought the creek level was 30 inches below the water overflow pipe and 48 inches above the water intake pipe. During non drought periods the water level can be measured at or above the level of the water overflow pipe.

Drought Alert

US Drought Monitor includes the service area of the Your Town Water System in the D2 classification (Moderate Drought, resulting in either agricultural or hydrologic impacts). Once an area is included in one of these classifications officials responsible for monitoring drought trigger points will initiate monitoring activities.

Voluntary Water Reductions (the trigger point for this phase is anyone of the following):

- The lowering of Dry Creek to 24 inches below water overflow pipe for five consecutive days

- The system usage reaches 1,400,000gpd for five consecutive days.

Mandatory Water Restrictions (the trigger point for this phase is anyone of the following):

- The lowering of Dry Creek to 30 inches below water overflow pipe for five consecutive days

- The system usage reaches 1,600,000gpd for five consecutive days.

- Bernard tank below 12 foot for three consecutive days.

Water Emergency Management (the trigger point for this phase is anyone of the following):

- The lowering of Dry Creek to 36 inches below water overflow pipe for five consecutive days

- The system usage reaches 1,900,000gpd for five consecutive days.

- Bernard tank below 8.8 feet for three consecutive days.

The goal of this phase is to bring water use demand to a level where water supplies could be maintained and sufficient time be allowed for filter backwashing and plant maintenance. This phase calls for sacrifices by users, with the expectation that rainfall is not likely to occur and that extremely limited supplies must be reserved for supporting life and necessary sanitary uses (human consumption). The phase would likely correspond to conditions described by the US Drought Monitor as a D4 condition or exceptional drought.

Management Team

The Your Town Water System designated the chief water treatment plant operator to be the drought plan implementation Manager. He will be responsible for monitoring triggerpoints, updating the drought committee of changes, calling the committee meetings and updating the plan as needed. In addition, the mayor of the town, the Police Chief, Fire Chief, Distribution supervisor and a city alderman make up the drought management group responsible for overseeing the implementation of the plan. They advise and assist the chief operator in gathering information, assessing the situation and recommend, advise and approve the chief operator's actions. The task group is activated and will meet as necessary, but no less than once a week, once a "Drought Alert" has been initiated. A "Drought Alert" corresponds to the US Drought Monitor's categorization of the water system's service area as being characterized as under "Severe" drought conditions. The task group monitors water system conditions, including water demand, water supply, forecasted conditions, hydraulic conditions, water quality issues, impacted communities, public notification, plan modifications, staffing, trigger points and other issues related to the implementation of the plan. The task group and chief operator must also maintain records of their actions, system conditions at the time of management actions taken, and their effects. Finally, the drought management group and plan implementation manager must also determine and announce the step-down and/or deactivation of the plan.

Review, Evaluation and Up-dating the Management Plan

The drought management plan was adopted on 	__________	by the town council. The drought manager will review the plan within 6 months after any phase of the plan has been implemented and/or every three years. Refinements to the drought management plan will be made as necessary. The drought manager is responsible for making the review and presenting that review before council.