This document contains 3 example public notices. Please read each notice carefully and replace the needed wording to match your water system information. Some of this document contains text that is not part of the notice but explanations of what you need to do.

If you have any questions you can download EPA’s public notification handbook by going to this website: http://water.epa.gov/lawsregs/rulesregs/sdwa/publicnotification/compliancehelp.cfm

Turbidity Exceedance Boil Water Notice

Total Coliform Rule Boil Water Notice

Low Water Pressure Boil Water Notice

DRINKING WATER WARNING

(System) has high turbidity levels

BOIL YOUR WATER BEFORE USING

We routinely monitor your water for turbidity (cloudiness).  This tells us whether we are effectively filtering the water supply.  A water sample taken [date] showed turbidity levels of [number] turbidity units.  This is above the standard of [standard] turbidity units.  Because of these high levels of turbidity, there is an increased chance that the water may contain disease-causing organisms.

What should I do?

•	DO NOT DRINK THE WATER WITHOUT BOILING IT FIRST.  Bring all water to a boil, let it boil for one minute, and let it cool before using, or use bottled water.  Boiled or bottled water should be used for drinking, making ice, brushing teeth, washing dishes, and food preparation until further notice.

•	Turbidity has no health effects.  However, turbidity can interfere with disinfection and provide a medium for microbial growth.  Turbidity may indicate the presence of disease causing organisms.  These organisms include bacteria, viruses, and parasites, which can cause symptoms such as nausea, cramps, diarrhea, and associated headaches.  People with severely compromised immune systems, infants, and some elderly may be at increased risk.  These people should seek advice about drinking water from their health care providers.

•	The symptoms above are not caused only by organisms in drinking water.  If you experience any of these symptoms and they persist, you may want to seek medical advice.

What happened?  What is being done?

[Describe reason for the high turbidity, corrective action, and when the system expects to return to compliance.]

We will inform you when turbidity returns to appropriate levels and when you no longer need to boil you water.

For more information, please contact [name of contact] at [phone number] or [mailing address].  General guidelines on ways to lessen the risk of infection by microbes are available from the EPA Safe Drinking Water Hotline at 1 (800) 426-4791.

Please share this information with all the other people who drink this water, especially those who may not have received this notice directly (for example, people in apartments, nursing homes, schools, and businesses).  You can do this by posting this notice in a public place or distributing copies by hand or mail.

This notice is being sent to you by [system].  State Water System ID# [pwsid].  Date distributed: ______.

Tier 1 - Turbidity Exceedance

Turbidity violations are Tier 2 by default, but may frequently be elevated to Tier 1.  Since the Division of Water Supply has designated this turbidity exceedance a Tier 1 violation, you must provide public notice to persons served within 24 hours after you have been notified that the violation has been elevated to a Tier 1 status.  In addition, violations are automatically elevated if you are unable to consult with the Division of Water Supply or your Environmental Assistance Center within 24 hours.  In such cases, you must issue a notice within the next 24 hours.  You may elevate the violation to Tier 1 yourself as well. You should also coordinate with your local health department.  One or both agencies should tell you whether to instruct consumers to boil water.  You must use one or more of the following methods to deliver the notice to consumers.

•   Radio					•   Hand or direct delivery

•   Television				•   Posting in conspicuous locations

You may need to use additional methods (e.g., newspapers, delivery of multiple copies to hospitals, clinics, or apartment buildings), since notice must be provided in a manner reasonably calculated to reach all persons served.  If you post or hand deliver, print your notice on letterhead, if you have it.

The notice on the reverse is appropriate for hand delivery or a newspaper notice.  However, you may wish to modify it before using it for a radio or TV notice.  If you modify the notice, you must leave the health effects language in italics unchanged.  This language is mandatory per Regulation 1200-5-1-.19(5)(d) and must be listed as found in Appendix B to Regulation 1200-5-1-.19.

Population Served

Make sure it is clear who is being served by your water system - you may need to list the areas you serve.

Corrective Action

In your notice, describe corrective actions you are taking.  Listed below are some steps commonly taken by water systems with turbidity exceedance violations.  Use one or more of the following actions, if appropriate, or develop you own:

•	We are adding chemicals that reduce turbidity.

•	We are sampling both untreated and treated water for the presence of coliform bacteria.

•	We are monitoring chlorine levels and will adjust as needed to compensate for filtration problems.

•	We are inspecting and cleaning the filters.

Source of the Problem

If you know why the turbidity is high, explain it in your notice.  For instance, unusual conditions, such as heavy rains and flooding, can overburden the water plant, and treated water may therefore not meet the standards.  In addition, run-off from parts of the watershed could contain increased concentrations of sediment and animal waste.

After Issuing the Notice

Within ten days from the time you issue the notice, send a copy and a certification that you have met all the public notice requirements to your Environmental Assistance Center, and the:

State of Tennessee

Department of Environment and Conservation

Division of Water Supply

401 Church Street, 6th Floor

Nashville, Tennessee  37243

It is recommended that you notify health professionals in the area of the violation.  People may call their doctors with questions about how the violation may affect their health, and the doctors should have the information they need to respond appropriately.  In addition, health professionals, including dentists, use tap water during their procedures and need to know of contamination so they can use bottled water.

It is a good idea to issue a "problem corrected" notice when the violation is resolved.

DRINKING WATER WARNING

(System) water is contaminated with [fecal coliform / E. coli]

BOIL YOUR WATER BEFORE USING

Fecal coliform (or E. coli) bacteria were found in the water supply on (date).  These bacteria can make you sick, and are a particular concern for people with weakened immune systems.

What should I do?

•	DO NOT DRINK THE WATER WITHOUT BOILING IT FIRST.  Bring all water to a boil, let it boil for one minute, and let it cool before using, or use bottled water.  Boiled or bottled water should be used for drinking, making ice, brushing teeth, washing dishes, and food preparation until further notice.  Boiling kills bacteria and other organisms in the water.

•	Fecal coliforms and E. coli are bacteria whose presence indicates that the water may be contaminated with human or animal wastes.  Microbes in these wastes can cause diarrhea, cramps, nausea, headaches, or other symptoms.  They may pose a special health risk for infants, young children, and people with severely compromised immune systems.

•	The symptoms above are not caused only by organisms in drinking water.  If you experience any of these symptoms and they persist, you may want to seek medical advice.  People at increased risk should seek advice about drinking water from their health care providers.

What happened?  What is being done?

Bacterial contamination can occur when increased run-off enters the drinking water source (for example, following heavy rains).  It can also happen due to a break in the distribution system (pipes) or a failure in the water treatment process.

[Describe corrective action.]  We will inform you when tests show no bacteria and you no longer need to boil your water.  We anticipate resolving the problem within [estimated time frame].

For more information, please contact [name of contact] at [phone number] or [mailing address].  General guidelines on ways to lessen the risk of infection by microbes are available from the EPA Safe Drinking Water Hotline at 1 (800) 426-4791.

Please share this information with all the other people who drink this water, especially those who may not have received this notice directly (for example, people in apartments, nursing homes, schools, and businesses).  You can do this by posting this notice in a public place or distributing copies by hand or mail.

This notice is being sent to you by [system].  State Water System ID# [pwsid].  Date distributed: ______.

Tier 1 - Acute Total Coliform Rule Violation

Since exceeding the fecal coliform or E. coli maximum contaminant level is a Tier 1 violation, you must provide public notice to persons served as soon as practical but within 24 hours after you learn of the violation (Rule 1200-5-1-.19)  During this time, you must also contact your Environmental Assistance Center.  You should also coordinate with your local health department.  You may also have to modify the template if you also have other coliform MCL violations.  You must use one or more of the following methods to deliver the notice to consumers.

•   Radio					•   Hand or direct delivery

•   Television				•   Posting in conspicuous locations

You may need to use additional methods (e.g., newspapers, delivery of multiple copies to hospitals, clinics, or apartment buildings), since notice must be provided in a manner reasonably calculated to reach all persons served.

The notice on the reverse is appropriate for hand delivery or a newspaper notice.  However, you may wish to modify it before using it for a radio or TV notice.  If you do, you must still include all required elements and leave the health effects language in italics unchanged.  This language is mandatory per Regulation 1200-5-1-.19(5)(d) and must be listed as found in Appendix B to Regulation 1200-5-1-.19.  If you post or hand deliver, print your notice on letterhead, if you have it.

Population Served

Make sure it is clear who is being served by your water system - you may need to list the areas you serve.

Corrective Action

In your notice, describe corrective actions you are taking.  Listed below are some steps commonly taken by water systems with fecal coliform or E. coli violations.  Use one or more of the following actions, if appropriate, or develop you own:

•	We are chlorinating and flushing the water system.

•	We are switching to an alternate drinking water source.

•	We are increasing sampling for coliform bacteria to determine the source of the contamination.

•	We are repairing the wellhead seal.

•	We are repairing the storage tank.

•	We are restricting water intake from the river/lake/reservoir to prevent additional bacterial from entering the water system and restricting water use to emergencies.

After Issuing the Notice

Within ten days from the time you issue the notice, send a copy of each type of notice and a certification that you have met all the public notice requirements to your Environmental Assistance Center, and the:

State of Tennessee

Department of Environment and Conservation

Division of Water Supply

401 Church Street, 6th Floor

Nashville, Tennessee  37243

It is recommended that you notify health professionals in the area of the violation.  People may call their doctors with questions about how the violation may affect their health, and the doctors should have the information they need to respond appropriately.  In addition, health professionals, including dentists, use tap water during their procedures and need to know of contamination so they can use bottled water.

It is a good idea to issue a "problem corrected" notice when the violation is resolved.

DRINKING WATER WARNING

(System) Water System Customers

BOIL YOUR WATER BEFORE USING

The XXXXXX Water System has experienced multiple line breaks which have resulted in a significant loss of pressure in the drinking water system. As a precautionary measure we are asking customers to boil water before using for consumption.  We apologize for any inconvenience and thank you for your patience while we work to resolve this problem.

What does this mean?  What should I do?

- DO NOT DRINK THE WATER WITHOUT BOILING IT FIRST. Bring all water to a boil, let it boil for three (3) minutes, and let it cool before using, or use bottled water. Boiled or bottled water should be used for drinking, making ice, brushing teeth, washing dishes, and food preparation until further notice. Boiling kills bacteria and other organisms in the water.

- Water main breaks resulting in a loss of system pressure can introduce disease-causing organisms into the water system. These organisms include bacteria, viruses, and parasites, which can cause symptoms such as nausea, cramps, diarrhea, and associated headaches. The symptoms above are not caused only by organisms in drinking water. If you experience any of these symptoms and they persist, you may want to seek medical advice.

- People with severely compromised immune systems, infants, and some elderly may be at increased risk. These people should seek advice from their health care providers about drinking water.

What is being done?

The XXXXXXX Water System is actively seeking and repairing line breaks.  Once system pressure is restored, bacteriological tests will be conducted throughout the system. We will inform you when tests show no bacteria and you no longer need to boil your water. We anticipate resolving the problem within XXXXXXXXXXXXXXXXXXX

For more information, please contact (System) at XXXXXXXX. General guidelines on ways to lessen the risk of infection by microbes are available from the EPA Safe Drinking Water Hotline at 1-800-426-4791.

Please share this information with all the other people who drink this water, especially those who may not have received this notice directly (for example, people in apartments, nursing homes, schools, and businesses). You can do this by posting this notice in a public place or distributing copies by hand or mail.

This notice is being sent to you by The XXXXXX Water System

State Water System ID#: TN0000XXX.

Date distributed: ______.

DRINKING WATER PROBLEM CORRECTED

Customers of [system] were notified on [give date] of a problem with our drinking water and were advised to [describe recommended action]. We are pleased to report that the problem has been corrected and that it is no longer necessary to [describe recommended action]. We apologize for any inconvenience and thank you for your patience.

[Add further details here when appropriate.]

As always, you may contact [contact name] at [phone number] or [mailing address] with any comments or questions.

Please share this information with all the other people who drink this water, especially those who may not have received this notice directly (for example, people in apartments, nursing homes, schools, and businesses). You can do this by posting this notice in a public place or distributing copies by hand or mail.

This notice is being sent to you by [system].     State Water System ID#: ___________.  Date distributed: ______.